## LT ELEC_ALLIED WORKS
PROJECT: PROPOSED CONSTRUCTION OF NEW BUILDING FOR CANARA BANK RELIEF & WELFARE SOCIETY (CBRWS), BSK 2ND STAGE, BANGALORE-70
SCHEDULE B
SL NO | DESCRIPTION OF ITEM | UNIT | QTY | QUOTED RATE (Rs.) | AMOUNT in Rs.
1 | Earth work in surface excavation by mechanical means for lowering & leveling the ground for all works other than foundation in all kinds of soils & upto depth not exceeding 300mm as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage of machinery & other appurtenances required to complete the work. In all kinds of soils upto 300 mm depth | cum | 188.57 |  | 0
2 | Earth work excavation for Foundation by mechanical means for all works & depth upto 3 m, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage of machinery & other appurtenaces required to complete the work. In all kinds of soils Depth upto 3 m | cum | 2390.07 |  | 0
3 | Earth work excavation by manual means for drains, canals, waste weir, draft, approach channels, key trenches, foundation of Buildings & bridges and such simillar works in all kinds of soils, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, excavated surface leveled and sides neatly dressed disposing off the excavated stuff or sorting & stacking the selected stuff for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools & other appurtenaces required to complete the work. Depth exceeding 1.5m, but not exceeding 3 m | cum | 597.52 |  | 0
4 | Providing and laying in position Cement Concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. Mix 1:4:8 Using 40 mm nominal size graded crushed coarse aggregates | cum | 182.41 |  | 0
5 | Providing and laying in position Cement Concrete for all Foundation works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications. Footing Concrete M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates | cum | 420.4 |  | 0
6 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for foundation, footings,bases of column for mass concrete including cost of all materials , labours as per specifications. | cum | 420.4 |  | 0
7 | Providing and laying in position Cement Concrete for all Foundation works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications pedestal Concrete M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates | cum | 47.08 |  | 0
8 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for foundation, footings,bases of column for mass concrete including cost of all materials , labours as per specifications For Pedestal centring . | cum | 47.08 |  | 0
9 | Providing and laying in Cement Concrete for all Basement & surface level works, return walls, retaining walls, sunken floors etc. The granite/trap/ basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers, laid in layers, well compacted using needle vibrators, providing weep holes wherever necessary, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications. M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates For Plinth beam. | cum | 71.8 |  | 0
10 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications For Plinth Beam | cum | 71.8 |  | 0
11 | Providing Size Stone masonry with hard stone in foundation & plinth with Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 27.86 |  | 0
12 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. Note : 1) Add 5% per m3 for every additional 1.50m depth or part thereoff beyond 4.50 m depth is provided 2) Add 3% per m3 for every additional 1.50m depth or part thereoff beyond initial 1.50 m depth if shoring and strutting is provided. | cum | 2238.04 |  | 0
13 | Construction of Embankment by excavating the available approved Gravel/ Murrum deposited at a place or borrow pits during or prior excavation with all lifts and lead, transportation to site, spreading, grading to required slope and compacting to meet the requirement complete as per specifications, including cost of labour,rolling,water,all materials,usage& all other appurtenaces required to complete the work | cum | 678.34 |  | 0
14 | Providing and injecting chemical emulsion for Pre-constructional Anti-Termite Treatment, creating continuous chemical barrier under and around the column pits, walls, trenches, basement excavation, top surface of the plinth filling, junction of wall and floor, along the external perimeter of building, expansion joints, over the top surface of consolidated earth on which apron is to be laid, surrounding of pipes and conduits with Chlorpyriphos 20% E.C. / Lindane 20% E.C. @ 3.19 l/m2 including cost of chemical, diluting in water to one percent concentration, labour, usage charges of machinery, complete as per specifications. | sqm | 586.52 |  | 0
15 | Providing and laying in position Cement Concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. Mix 1:3:6 Using 40 mm nominal size graded crushed coarse aggregates. | cum | 29.34 |  | 0
16 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M35 Design Mix Using 20 mm nominal size graded crushed coarse aggregates stilt floor columns | cum | 66.42 |  | 0
17 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M35 Design Mix Using 20 mm nominal size graded crushed coarse aggregates ground floor columns | cum | 26.97 |  | 0
18 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M35 Design Mix Using 20 mm nominal size graded crushed coarse aggregates first floor columns | cum | 25.77 |  | 0
19 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 66.42 |  | 0
20 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 26.97 |  | 0
21 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 25.77 |  | 0
22 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M30 Design Mix Using 20 mm nominal size graded crushed coarse aggregates second floor columns | cum | 25.77 |  | 0
23 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M30 Design Mix Using 20 mm nominal size graded crushed coarse aggregates third floor columns | cum | 25.77 |  | 0
24 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates terrace floor columns | cum | 12.92 |  | 0
25 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 25.77 |  | 0
26 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 25.77 |  | 0
27 | Providing and removing centering, shuttering, strutting, propping etc.., for columns, pillars, piers, abutments, post and struts, squars / rectangular / polygon in plan including cost of all materials, labours as per specifications. | cum | 12.92 |  | 0
28 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for roof beam stilt floor | cum | 49.7 |  | 0
29 | Same specification as said above for roof beam ground floor | cum | 54.54 |  | 0
30 | Same specification as said above for roof beam first floor | cum | 54.54 |  | 0
31 | Same specification as said above for roof beam second floor | cum | 54.54 |  | 0
32 | Same specification as said above for roof beam third floor | cum | 54.54 |  | 0
33 | Same specification as said above for roof beam terrace floor | cum | 12.34 |  | 0
34 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. stilt floor | cum | 49.7 |  | 0
35 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. ground floor | cum | 54.54 |  | 0
36 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. first floor | cum | 54.54 |  | 0
37 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. second floor | cum | 54.54 |  | 0
38 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. third floor | cum | 54.54 |  | 0
39 | Providing and removing centering, shuttering, strutting, propping etc.., and remove of form work for sides and soffits of beams, beams haunchings, cantilevers girders and lintels not exceeding 1m in depth including cost of all materials, labours as per specifications. terrace floor | cum | 12.34 |  | 0
40 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates stilt floor | cum | 80.32 |  | 0
41 | Same specification as said above for roof ground floor | cum | 75.37 |  | 0
42 | Same specification as said above for roof first floor | cum | 75.37 |  | 0
43 | Same specification as said above for roof second floor | cum | 75.37 |  | 0
44 | Same specification as said above for roof third floor | cum | 75.37 |  | 0
45 | Same specification as said above for roof terrace floor | cum | 17.95 |  | 0
46 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof and staircase stilt floor | cum | 90.32 |  | 0
47 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof ground floor | cum | 75.37 |  | 0
48 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof a first floor | cum | 75.37 |  | 0
49 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof second floor | cum | 75.37 |  | 0
50 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof third floor | cum | 75.37 |  | 0
51 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors, roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications roof terrace floor | cum | 17.95 |  | 0
52 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for staircase stilt floor | cum | 10 |  | 0
53 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for staircase ground floor | cum | 10 |  | 0
54 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for staircase first floor | cum | 10 |  | 0
55 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for staircase second floor | cum | 10 |  | 0
56 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates for staircase third floor | cum | 10 |  | 0
57 | Providing and removing centering, shuttering, strutting, propping etc., and removal of form work for Stairs (excluding landing) except spiral staircase including cost of all materials, labour complete as per specificaiton. Specification. Ground floor | cum | 10 |  | 0
58 | Providing and removing centering, shuttering, strutting, propping etc., and removal of form work for Stairs (excluding landing) except spiral staircase including cost of all materials, labour complete as per specificaiton. Specification. first floor | cum | 10 |  | 0
59 | Providing and removing centering, shuttering, strutting, propping etc., and removal of form work for Stairs (excluding landing) except spiral staircase including cost of all materials, labour complete as per specificaiton. Specification. second floor | cum | 10 |  | 0
60 | Providing and removing centering, shuttering, strutting, propping etc., and removal of form work for Stairs (excluding landing) except spiral staircase including cost of all materials, labour complete as per specificaiton. Specification. third floor | cum | 10 |  | 0
61 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (stilt floor) | Tonne | 70.95 |  | 0
62 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (Ground floor) | Tonne | 17.3 |  | 0
63 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (First floor) | Tonne | 18.56 |  | 0
64 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (Second floor) | Tonne | 18.56 |  | 0
65 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (Third floor) | Tonne | 18.56 |  | 0
66 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification (Terrace floor) | Tonne | 4.89 |  | 0
67 | Providing and constructing load bearing wall with Solid Concrete blocks of size 400x200x200mm having block density more than 1800kg/m3 and minimum compressive strength of 4.00 N/mm2 conforming to IS 2185 (Part - I) - 2005 and constructed with CM 1:4 as per IS 2572:2005 including cost of all materials, labour, scaffolding and curing, usage charges of machinery etc complete as per specifications. |  |  |  | 0
| Stilt Floor | sqm | 118.18 |  | 0
| Ground Floor | sqm | 667.74 |  | 0
| First floor | sqm | 696.36 |  | 0
| Second Floor | sqm | 670.05 |  | 0
| Third Floor | sqm | 670.05 |  | 0
| Terrace Floor | sqm | 120.18 |  | 0
68 | Providing and constructing load bearing wall with Solid Concrete blocks of size 400x150x200mm having block density more than 1800kg/m3 and minimum compressive strength of 4.00 N/mm2 conforming to IS 2185 (Part - I) - 2005 and constructed with CM 1:4 as per IS 2572:2005 including cost of all materials, labour, scaffolding and curing, usage charges of machinery etc complete as per specifications.. |  |  |  | 0
| Stilt Floor | sqm | 43.15 |  | 0
| Ground Floor | sqm | 118.99 |  | 0
| First floor | sqm | 171.72 |  | 0
| Second Floor | sqm | 164.99 |  | 0
| Third Floor | sqm | 164.99 |  | 0
| Terrace Floor | sqm | 170 |  | 0
69 | Providing and constructing load bearing wall with Solid Concrete blocks of size 400x100x200mm having block density more than 1800kg/m3 and minimum compressive strength of 4.00 N/mm2 conforming to IS 2185 (Part - I) - 2005 and constructed with CM 1:4 as per IS 2572:2005 including cost of all materials, labour, scaffolding and curing, usage charges of machinery etc complete as per specifications.. |  |  |  | 0
| Ground Floor | sqm | 23.37 |  | 0
| First floor | sqm | 23.4 |  | 0
| Second Floor | sqm | 23.4 |  | 0
| Third Floor | sqm | 23.4 |  | 0
70 | Providing and laying in position Cement Concrete for all Sub structures of building, Irrigation works, Sub structure works of bridges, Drain works & other parallel works from 0.50m to 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers, laid in layers, well compacted using needle vibrators, providing weep holes wherever necessary, including all lead & lifts, cost of all materials of quality, confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications. Mix 1:2:4( M15) Using 20 mm nominal size graded crushed coarse aggregates For Cill Concrete |  |  |  | 0
| Stilt Floor | cum | 0.1 |  | 0
| Ground Floor | cum | 2.03 |  | 0
| First floor | cum | 2.13 |  | 0
| Second Floor | cum | 2.13 |  | 0
| Third Floor | cum | 2.13 |  | 0
| Terrace Floor | cum | 0.2 |  | 0
71 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates For Lintel |  |  |  | 0
| Stilt Floor | cum | 0.72 |  | 0
| Ground Floor | cum | 5.98 |  | 0
| First floor | cum | 5.94 |  | 0
| Second Floor | cum | 5.94 |  | 0
| Third Floor | cum | 5.94 |  | 0
| Terrace Floor | cum | 1.19 |  | 0
72 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates For chejjah |  |  |  | 0
| Stilt Floor | cum | 0.4 |  | 0
| Ground Floor | cum | 14.68 |  | 0
| First floor | cum | 14.68 |  | 0
| Second Floor | cum | 14.68 |  | 0
| Third Floor | cum | 14.68 |  | 0
| Terrace Floor | cum | 4.5 |  | 0
73 | Providing and removing centering , shuttering , strutting , propping etc and removal of form work for flat surface such as suspended floors , roofs landing and etc....thickness upto 200mm, including cost of all materials , labours as per specifications. |  |  |  | 0
| Stilt Floor | cum | 1.12 |  | 0
| Ground Floor | cum | 20.65 |  | 0
| First floor | cum | 20.62 |  | 0
| Second Floor | cum | 20.62 |  | 0
| Third Floor | cum | 20.62 |  | 0
| Terrace Floor | cum | 5.69 |  | 0
74 | Providing and laying cinder concrete in cement 1:15 ( 1 cement : 15 cinder of 12.5mm nominal gauge) on terraced roof or sunken slabs, laid to slope compacting, including cost of materials, labour, curing complete as per specifications. |  |  |  | 0
| Stilt Floor | cum | 14.11 |  | 0
| Ground Floor | cum | 19.23 |  | 0
| First floor | cum | 20.61 |  | 0
| Second Floor | cum | 20.61 |  | 0
| Third Floor | cum | 20.61 |  | 0
75 | Providing and laying water proofing treatment to the Roof with PU based single component elastomeric pure polyurethane based coating on New terrace/Chajjas/Sunken portion of WC:Bathroom, cold applied PU waterproofing membrane that is highly elastic with elongation greater than 400% and tensile strength greater than 2MPa as per ASTM D412. The waterproofing membrane to be applied in 2coats @ 1.6 kg/m2 to achieve final DFT (Dry Film Thickness) of 1mm including prime coat of epoxy primer @150 g/m2 and protection with 120gsm Geo-textile over the waterproofing membrane. The finished cost to include surface preparation, making coving at Junction, Bore Packing, treatment of construction joints completely as per specification. |  |  |  | 0
| Stilt Floor | sqm | 76.97 |  | 0
| Ground Floor | sqm | 182.18 |  | 0
| First floor | sqm | 174.23 |  | 0
| Second Floor | sqm | 174.23 |  | 0
| Third Floor | sqm | 174.23 |  | 0
| Terrace Floor | sqm | 882.4 |  | 0
76 | Providing 6 mm cement plaster with cement mortar 1:3 (1 cement : 3 fine sand) on concrete surface / ceilings including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. For Ceiling plastering |  |  |  | 0
| Stilt Floor | sqm | 1056.16 |  | 0
| Ground Floor | sqm | 1238.36 |  | 0
| First floor | sqm | 1238.36 |  | 0
| Second Floor | sqm | 1238.36 |  | 0
| Third Floor | sqm | 1238.36 |  | 0
| Terrace Floor | sqm | 223.23 |  | 0
77 | Providing 12 mm cement plaster with cement mortar 1:6 (1 cement: 6 fine sand) including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. Inner wall Plastering |  |  |  | 0
| Stilt Floor | sqm | 393.75 |  | 0
| Ground Floor | sqm | 1015 |  | 0
| First floor | sqm | 1160 |  | 0
| Second Floor | sqm | 1160 |  | 0
| Third Floor | sqm | 1160 |  | 0
| Terrace Floor | sqm | 145 |  | 0
78 | Providing 15 mm cement plaster with cement mortar 1:3 (1 cement: 3coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall including rounding off corners wherever required smooth rendering, providing and removing scaffolding,including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. External wall Plastering |  |  |  | 0
| Stilt Floor | sqm | 737.28 |  | 0
| Ground Floor | sqm | 351.36 |  | 0
| First floor | sqm | 351.36 |  | 0
| Second Floor | sqm | 351.36 |  | 0
| Third Floor | sqm | 351.36 |  | 0
| Terrace Floor | sqm | 462 |  | 0
79 | Providing 15 mm cement plaster on the rough side of single or half brick wall of mix 1:4 (1 cement: 4 fine sand) including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. Rough Plastering for Toilets |  |  |  | 0
| Ground Floor | sqm | 270.96 |  | 0
| First floor | sqm | 364.65 |  | 0
| Second Floor | sqm | 364.65 |  | 0
| Third Floor | sqm | 364.65 |  | 0
80 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding. |  |  |  | 0
| Stilt Floor | kgs | 79.38 |  | 0
| Ground Floor | kgs | 3545.64 |  | 0
| First floor | kgs | 4392.74 |  | 0
| Second Floor | kgs | 4256.41 |  | 0
| Third Floor | kgs | 4256.41 |  | 0
| Terrace Floor | kgs | 64.26 |  | 0
81 | Providing & fixing of 3-track x 2-panel sliding windows made out of multi chambered UPVC(Matching to RAL-9016) sections and with minimum TiO2(Titanium Dioxide) at 6PHR with TPE(Thermo Plastic Elastomer) and lead free, gaskets -grey colour having isolated drainage and reinforced with Galvanized Iron profile through-out the window frame. The outer frame having an overall size of 108mm width x 45mmheight with reinforcement of 1mm thickness and Sash with overall size of 39mm x 75mm with GI reinforcement of 2mm and mesh sash of size 37mm x 58mm. Coextruded Glazing bead for fixing of glass shall be of size 20mm x 24 mm. Windows shall be provided with 6mm plain float glass, standard hardware& Multi point locking system with touch lock. Wall thickness of frame & sash shall be of 2mm-2.5mm. Maximum possible size – 2419mm x 2200mm. (The cost is inclusive of all fixtures and separate charges for minor T&P's shall not be made) |  |  |  | 0
| Stilt Floor | sqm | 3.78 |  | 0
| Ground Floor | sqm | 52.01 |  | 0
| First floor | sqm | 37.08 |  | 0
| Second Floor | sqm | 42.48 |  | 0
| Third Floor | sqm | 42.48 |  | 0
| Terrace Floor | sqm | 3.06 |  | 0
82 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/ Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibres (wood powder/rice husk/ wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 g) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 850 kg/m3, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2 , modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In Charge. (Fixtures shall be paid for separately) |  |  |  | 0
| Stilt Floor | m | 7.8 |  | 0
| Ground Floor | m | 150.8 |  | 0
| First floor | m | 172.8 |  | 0
| Second Floor | m | 172.8 |  | 0
| Third Floor | m | 172.8 |  | 0
| Terrace Floor | m | 14.4 |  | 0
83 | Providing and fixing factory made Green certified, Anti Termite, UV resistant, high water absorbant single extruded WPC (Wood PolymerComposite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 g) having minimum density of 650 kg/m3 and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength of 50 N/mm2 , modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws The cost includes cost of materials, transportation, labour and fixing charges.(Cost of Fixtures to be paid separately) 30 mm thickness |  |  |  | 0
| Stilt Floor | sqm | 3.15 |  | 0
| Terrace Floor | sqm | 5.04 |  | 0
84 | Providing and fixing flush door shutter made out of solid core block board type, well seasoned , chemicaly treated hard wood battens and internal frame with minimum 45 mm wide wooden frame alround door shutters covered with cross bonded wooden sheets (core veneer) hot pressed and fastened on both sides of the door useing liquid phenol formaldehyde resin as per IS specifications 2202 (part-I) 1991. from manufacturer complete as per spcification. -do- 30 mm thick Both side teak |  |  |  | 0
| Ground Floor | sqm | 50.4 |  | 0
| First floor | sqm | 60.48 |  | 0
| Second Floor | sqm | 60.48 |  | 0
| Third Floor | sqm | 60.48 |  | 0
85 | Providing and fixing aluminium sliding doors (robust aluminium alloy frames 6000 series)with frosted glass of 10mm Material: High-grade aluminum alloy with anti-corrosion treatments.Surface Finish: Powder-coated Frosted Glass: For optimal privacy while allowing light transmission. Track Mechanism: single track system with Stainless steel rollers Sealing: Equipped with EPDM weather-stripping for superior water and vapor sealing.including all necessary fixtures such as door stopper, handles all complete as specified and as directed by the Engineer-in-Charge |  |  |  | 0
| Ground Floor | sqm | 25.2 |  | 0
| First floor | sqm | 35.28 |  | 0
| Second Floor | sqm | 35.28 |  | 0
| Third Floor | sqm | 40.32 |  | 0
86 | Providing and laying Black Lapotra Granite stone flooring in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. |  |  |  | 0
| Stilt Floor | sqm | 64.27 |  | 0
| Ground Floor | sqm | 162.22 |  | 0
| First floor | sqm | 148.31 |  | 0
| Second Floor | sqm | 148.31 |  | 0
| Third Floor | sqm | 148.31 |  | 0
| Terrace Floor | sqm | 23.48 |  | 0
87 | Providing and fixing 18 mm thick gang saw cut granite of any color and shade, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch up, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Area of the slab = 0.50 m2 |  |  |  | 0
| Stilt Floor | sqm | 10.2 |  | 0
| Ground Floor | sqm | 89.77 |  | 0
| First floor | sqm | 65.48 |  | 0
| Second Floor | sqm | 65.48 |  | 0
| Third Floor | sqm | 65.48 |  | 0
| Terrace Floor | sqm | 10.2 |  | 0
88 | Providing edge moulding to 18mm thick Granite stone counters, vanities etc including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-charge. |  |  |  | 0
| Stilt Floor | m | 121.65 |  | 0
| Ground Floor | m | 313.12 |  | 0
| First floor | m | 331.63 |  | 0
| Second Floor | m | 331.63 |  | 0
| Third Floor | m | 331.63 |  | 0
89 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete as per specifications and as per directions of Engineer in charge. |  |  |  | 0
| Stilt Floor | sqm | 1449.91 |  | 0
| Ground Floor | sqm | 2253.36 |  | 0
| First floor | sqm | 2398.36 |  | 0
| Second Floor | sqm | 2398.36 |  | 0
| Third Floor | sqm | 2398.36 |  | 0
| Terrace Floor | sqm | 368.23 |  | 0
90 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives, New work (Two coats applied @ 1.43 litre/ 10 m². Over and including priming coat of exterior primer applied @ 0.90 litre/10 m² with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge |  |  |  | 0
| Stilt Floor | sqm | 1449.91 |  | 0
| Ground Floor | sqm | 2253.36 |  | 0
| First floor | sqm | 2398.36 |  | 0
| Second Floor | sqm | 2398.36 |  | 0
| Third Floor | sqm | 2398.36 |  | 0
| Terrace Floor | sqm | 368.23 |  | 0
91 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two coat applied @ 1.67 ltr/10 m² over and including priming coat of exterior primer applied @ 2.20 kg/10 m²) with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. |  |  |  | 0
| Stilt Floor | sqm | 737.28 |  | 0
| Ground Floor | sqm | 351.36 |  | 0
| First floor | sqm | 351.36 |  | 0
| Second Floor | sqm | 351.36 |  | 0
| Third Floor | sqm | 351.36 |  | 0
| Terrace Floor | sqm | 462 |  | 0
92 | Providing and laying Vitrified tiles with thickness 9-10 mm in different sizes with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600X1200 mm. |  |  |  | 0
| Ground Floor | sqm | 358.52 |  | 0
| First floor | sqm | 408.02 |  | 0
| Second Floor | sqm | 408.02 |  | 0
| Third Floor | sqm | 408.02 |  | 0
93 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including pointing the joints with white cement and matching pigments etc., complete. |  |  |  | 0
| Ground Floor | sqm | 93.02 |  | 0
| First floor | sqm | 68.68 |  | 0
| Second Floor | sqm | 68.68 |  | 0
| Third Floor | sqm | 68.68 |  | 0
94 | Providing skirting, dadooing, rises of steps with colour glazed tiles 6mm thick on 10mm thick cement plaster 1:3 and jointed with white cement slurry over existing rough plaster surface using glazed tiles of approved make and size including cost of materials, labour, complete as per specifications. |  |  |  | 0
| Ground Floor | sqm | 373.4 |  | 0
| First floor | sqm | 364.65 |  | 0
| Second Floor | sqm | 364.65 |  | 0
| Third Floor | sqm | 364.65 |  | 0
95 | Applying priming coat: With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) including preparing the surface after thorougly cleaning oil, grease, dirt and foreign matter, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. |  |  |  | 0
| Stilt Floor | sqm | 326.3 |  | 0
| Ground Floor | sqm | 344.8 |  | 0
| First floor | sqm | 364.96 |  | 0
| Second Floor | sqm | 364.96 |  | 0
| Third Floor | sqm | 364.96 |  | 0
| Terrace Floor | sqm | 254.08 |  | 0
96 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works including preparing the surface after thorougly cleaning oil, grease, dirt and foreign matter, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. |  |  |  | 0
| Stilt Floor | sqm | 327.56 |  | 0
| Ground Floor | sqm | 573.02 |  | 0
| First floor | sqm | 649.37 |  | 0
| Second Floor | sqm | 649.37 |  | 0
| Third Floor | sqm | 649.37 |  | 0
| Terrace Floor | sqm | 323.06 |  | 0
97 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. |  |  |  | 0
| Stilt Floor | sqm | 265.86 |  | 0
| Ground Floor | sqm | 673.82 |  | 0
| First floor | sqm | 770.33 |  | 0
| Second Floor | sqm | 770.33 |  | 0
| Third Floor | sqm | 770.33 |  | 0
| Terrace Floor | sqm | 257.14 |  | 0
98 | Providing and fixing bright finished brass butt hinges with necessary screws etc. complete :125x70x4 mm (ordinary type) |  |  |  | 0
| Stilt Floor | Nos | 8 |  | 0
| Ground Floor | Nos | 180 |  | 0
| First floor | Nos | 144 |  | 0
| Second Floor | Nos | 144 |  | 0
| Third Floor | Nos | 156 |  | 0
| Terrace Floor | Nos | 8 |  | 0
99 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10mm. |  |  |  | 0
| Stilt Floor | Nos | 2 |  | 0
| Ground Floor | Nos | 60 |  | 0
| First floor | Nos | 48 |  | 0
| Second Floor | Nos | 72 |  | 0
| Third Floor | Nos | 52 |  | 0
| Terrace Floor | Nos | 4 |  | 0
100 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete |  |  |  | 0
| Stilt Floor | Nos | 2 |  | 0
| Ground Floor | Nos | 60 |  | 0
| First floor | Nos | 48 |  | 0
| Second Floor | Nos | 48 |  | 0
| Third Floor | Nos | 52 |  | 0
| Terrace Floor | Nos | 2 |  | 0
101 | Brass handles 125 mm with plate 175x32 mm. |  |  |  | 0
| Stilt Floor | Nos | 4 |  | 0
| Ground Floor | Nos | 120 |  | 0
| First floor | Nos | 96 |  | 0
| Second Floor | Nos | 96 |  | 0
| Third Floor | Nos | 104 |  | 0
| Terrace Floor | Nos | 8 |  | 0
102 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete |  |  |  | 0
| Stilt Floor | Nos | 2 |  | 0
| Ground Floor | Nos | 60 |  | 0
| First floor | Nos | 48 |  | 0
| Second Floor | Nos | 48 |  | 0
| Third Floor | Nos | 52 |  | 0
| Terrace Floor | Nos | 4 |  | 0
103 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 150x10mm. |  |  |  | 0
| Ground Floor | Nos | 120 |  | 0
| First floor | Nos | 96 |  | 0
| Second Floor | Nos | 96 |  | 0
| Third Floor | Nos | 104 |  | 0
| Terrace Floor | Nos | 2 |  | 0
104 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in- charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. |  |  |  | 0
| Stilt Floor | kgs | 864 |  | 0
| Ground Floor | kgs | 1193.2 |  | 0
| First floor | kgs | 1193.2 |  | 0
| Second Floor | kgs | 1193.2 |  | 0
| Third Floor | kgs | 1193.2 |  | 0
105 | Providing and fixing Stainless Steel Grab Bar 600 mm Long with all concealed fitting arrangements & all necessary accesories complete - Class Premium |  |  |  | 0
| Ground Floor | Nos | 16 |  | 0
| First floor | Nos | 24 |  | 0
| Second Floor | Nos | 24 |  | 0
| Third Floor | Nos | 24 |  | 0
106 | Providing and fixing Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished seamless type tubes including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. |  |  |  | 0
| Stilt Floor | kgs | 1721.6 |  | 0
| Ground Floor | kgs | 1312.72 |  | 0
| First floor | kgs | 1312.72 |  | 0
| Second Floor | kgs | 1312.72 |  | 0
| Third Floor | kgs | 1312.72 |  | 0
| Terrace Floor | kgs | 1312.72 |  | 0
107 | Providing and fixing factory made 18 mm thick single extruded WPC (Wood Polymer Composite) solid plain white colour board Jali, CNC (Computer Numeric Control) routed of approved design by Engineer-incharge which are machine cut for duct/shaft covering, partitions and facades comprising of virgin Polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 g) having minimum density of 650 kg/m3 and screw withdrawal strength of 1800 N (Face) minimum compressive strength 50 N/mm2 , modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with properties of being termite/borer proof, water/moisture proof and fire retardant and fixing as per requirement at site with necessary stainless steel fasteners and SS screws etc., all complete as per direction of Engineer-In-Charge. (Note: M.S framework required with priming coat shall be paid separately) |  |  |  | 0
| Stilt Floor | sqm | 160 |  | 0
| Ground Floor | sqm | 122 |  | 0
| First floor | sqm | 122 |  | 0
| Second Floor | sqm | 122 |  | 0
| Third Floor | sqm | 122 |  | 0
| Terrace Floor | sqm | 122 |  | 0
108 | Providing and fixing of Aluminium composite panel of approved make and colour for wall cladding for Brick/Rcc/stone walls & coloumns/beams with necessary aluminium frame works at required level made out of 50x25x4mm C section or equivalent. The panel should consist of 3mm thick non-halogenated FR grade mineral based polymer ( 2 hrs fire resistance as per ASTM E119-12 and clause B, S1, do as per ENT 13501-1sandwiched between 0.50 skins thick aluminium sheet making a total panel thickness of 4mm. The surfaces will be finished with PVDF based coating on topsides and service coating on reverse sides would be in polyester paint. The system shall be fixed using GI brackets, aluminium L cleats and stainless steel bolts and nuts complete with spring washer and cap nuts and all other necessary accessories, sealing shall be done with necessary rods etc., complete. For Straight Portion |  |  |  | 0
| Stilt Floor | sqm | 36.69 |  | 0
| Ground Floor | sqm | 36.69 |  | 0
| First floor | sqm | 36.69 |  | 0
| Second Floor | sqm | 36.69 |  | 0
| Third Floor | sqm | 36.69 |  | 0
| Terrace Floor | sqm | 73.39 |  | 0
109 | Design supply & installation of suspended Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. The Glass fins and glass panel assembly shall be connected to Slab/beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. |  |  |  | 0
| Ground Floor | sqm | 8.14 |  | 0
| First floor | sqm | 8.14 |  | 0
| Second Floor | sqm | 8.14 |  | 0
| Third Floor | sqm | 8.14 |  | 0
110 | Providing and fixing of clay tiles for cladding tiles of size 230x75x10mm thick on 12mm thick cement mortar 1:3 (1 cement : 3 coarse sand) & jointed with Adhesive/cement slurry over rough plaster surface excluding cost of rough plastered surface and the surface is painted with red apex paint and black apex paint into the groves. The work includes cost of all materials, labour charges for all items of work, usage charges for equipment, etc., complete as per specification. |  |  |  | 0
| Ground Floor | sqm | 97.6 |  | 0
| First floor | sqm | 97.6 |  | 0
| Second Floor | sqm | 97.6 |  | 0
| Third Floor | sqm | 97.6 |  | 0
111 | Providing and fixing 12 mm thick frameless toughened glass partition & door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.) including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. |  |  |  | 0
| Ground Floor | sqm | 5.4 |  | 0
| First floor | sqm | 7.95 |  | 0
| Second Floor | sqm | 7.95 |  | 0
| Third Floor | sqm | 7.95 |  | 0
112 | Providing and laying in position plain cement concrete for levelling course for all works in foundation. The granite / trap / basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machineries, curing, and all the other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement & formwork shall be paid separately) Mix 1:3:6( M10) Using 20 mm nominal size graded crushed coarse aggregates For coping & water proofing | Cum | 73.14 |  | 0
113 | Providing and laying 80mm thick factory made precast M -30 grade Cement Concrete Paver Block as per IRC SP 63:2018 & IS 15658 for Commercial Traffic Axle load repetitions upto 10MSA & for Residential Streets of approved shape and colour, laid in required pattern and including over 40mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | sqm | 676.77 |  | 0
114 | Providing, laying & fixing cement base, precast, pre polished cement concrete, designer tiles 25mm thick conforming to IS 1237 heavy duty tiles for flooring, treads of steps and landing, laid on a bed of 12mm thick cement mortar 1:3 mis finished with flush pointing using white cement, including cost of materials, mortar, including cutting, griding the edge to half/full round wherever required, labour, curing complete as per specification. | sqm | 526.88 |  | 0
115 | Providing and fixing suitable plaster mesh 100mm wide manufactured out of hot dipped galvanised iron of nominal thickness 0.35mm with a zinc coating of 120g/m2 width, along route of walls chipped for services, junction between RCC and brick walls including cost of materials, labour for fixing complete as per specifications. ( length of mesh only be measured for payment | m | 10000 |  | 0
116 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver/grader in sub-base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density. | Cum | 135.25 |  | 0
117 | Supplying and fixing M15 grade precast cement concrete Kerb stones for Roadway, Sidewalls and gutters fixed with CM 1:3 fixed and finsihed in line as per direction of Engineer in charge. (The cost of PCC shall be paid extra)900 x 250 x 150 mm size | m | 325 |  | 0
118 | LT ELECTRICAL WORKS PVC CONDUITS & ITS ACCESSORIES Open conduit System Supplying heavy gauge PVC conduit pipe ……dia....mm thick confirming to IS 2509 with suitable size bends, junction boxes, adhesives paste etc., and fixing using inverted wood plugs in case of RCC ceiling and RCC wall / stone structure or rawl plugs in case of brick walls and cement plastering the damaged portion using heavy gauge saddles at an interval of 700mm using NF screws. a) 19/20 mm dia 2mm thick | Mtr | 150 |  | 0
| b) 25mm dia 2mm thick | Mtr | 300 |  | 0
| c) 32mm dia 2.5mm thick | Mtr | 75 |  | 0
| d) 40mm dia 2.5mm thick | Mtr | 50 |  | 0
119 | Concealed conduit System Supplying heavy gauge PVC conduit pipe ……mm dia ......mm thick confirming to IS 2509 with suitable size bends, metals/PVC junction boxes, adhesives paste etc., and running before concreting the slab . The conduit should be tied to the reinf+C9orcement rods by using binding wires and unused ways of junction boxes and pipe ends should be covered using PVC end enclosures. run with 18SWG GI fish wire wherever necessary. a) 19/20 mm dia 2mm thick | Mtr | 1000 |  | 0
| b) 25mm dia 2mm thick | Mtr | 4000 |  | 0
| c) 32mm dia 2.5mm thick | Mtr | 100 |  | 0
| d) 40mm dia 2.5mm thick | Mtr | 50 |  | 0
120 | Supplying heavy gauge PVC conduit pipe……dia.....mm thick with suitable size bends, metal junction boxes, adhesive paste etc. By groove cutting in the wall and fixing by bracing U or J hooks and cement plastering up to the wall surface and run with 18SWG GI fish wire run throughout the conduit wherever necessary a) 19/20 mm dia 2mm thick | Mtr | 150 |  | 0
| b) 25mm dia 2mm thick | Mtr | 550 |  | 0
| c) 32mm dia 2.5mm thick | Mtr | 25 |  | 0
| d) 40mm dia 2.5mm thick | Mtr | 20 |  | 0
121 | Supplying and fixing sheet metal box made out of 18 SWG sheet metal with necessary holes for cable/conduit entry as required with one coat of primer of approved make etc. |  |  |  | 0
| a) 200x200x65 mm | Each | 40 |  | 0
122 | Supplying and fixing PVC/metal conduit deep junction box. a) 19/20mm deep junction box | Each | 120 |  | 0
| b) 25mm deep junction box | Each | 200 |  | 0
| c) 32mm deep junction box | Each | 30 |  | 0
123 | Extra for Groove cutting in brick wall/cc floor to the suitable depth for concealing of Conduit/GI pipe and plastering, finishing the wall upto wall surface complete. |  |  |  | 0
| a) upto 50mm conduit in CC Floor | Mtr | 100 |  | 0
124 | Supplying PVC flexible conduit pipe….mm dia fixing on surface over inverted tapered wooden plugs or phill plugs or rawl plugs and clamped using heavy gauge saddles at an interval of 300mm..using NF screws and on either end of the pipe terminated completely. a) 25 mm | Mtr | 150 |  | 0
| b) 32 mm | Mtr | 50 |  | 0
125 | Supplying and fixing Metal fan box with round hook. | Nos | 65 |  | 0
126 | Point wiring using copper wire without switch. Supplying and wiring adopting loop system in existing PVC Conduit/casing capping using 2x1.5Sqmm (Phase & Neutral) & 1 x1.0Sqmm (Earth wire) FRLS multi strand PVC insulated copper wire (confirming to IS 694: and latest amendments) with out control switch shall be fixed on the existing plastic sheet / gland box, the other end of the wires shall be terminated with sufficient loose length in a wood/PVC round block complete for each outlet. (For Light, fan point) |  |  |  | 0
| a) Short point up to 3Mtr from tapping point to out let via switch box | Point | 275 |  | 0
| b) Medium point above 3Mtr up to 6Mtrs from tapping point to out let via switch box | Point | 200 |  | 0
| c) Long point above 6Mtr up to 10Mtr from tapping point to out let via switch box | Point | 170 |  | 0
| d) Two outlet in a row, above 3Mtr up to 6Mtr from tapping point to out let via switch box | Point | 80 |  | 0
| e) Three outlet in a row, above 6Mtr up to 10Mtr from tapping point to out let via switches box | Point | 20 |  | 0
127 | Wiring for lighting/power circuit using one of FRLS PVC insulated 1100V Grade, multistrand Copper with low conductor resistance single core wire in open or concealed system of wiring with as per IS-694: confirming to latest amendments. The cost should inlcude Crimping lugs and termination. |  |  |  | 0
| a) 1.0 sqmm | Mtr | 200 |  | 0
| b) 1.5 sqmm | Mtr | 2100 |  | 0
| c) 2.5 sqmm | Mtr | 4000 |  | 0
| d) 4 sqmm | Mtr | 3500 |  | 0
| e) 6 sqmm | Mtr | 2100 |  | 0
| f) 10 sqmm | Mtr | 200 |  | 0
128 | Supplying and Drawing flexible multicore cable manufactured with electrolytic grade flexible copper with low conductor confirming to table 3 class 5 of IS:8130-1984 and (virgin) PVC insulation and sheathed suitable for working voltage upto 1100volts as per IS-694:1990. The cost should inlcude Crimping lugs and termination. |  |  |  | 0
| a) 3Cx1.5Sqmm | Mtr | 50 |  | 0
| b) 3Cx2.5Sqmm | Mtr | 30 |  | 0
| c) 3Cx4.0Sqmm | Mtr | 50 |  | 0
| d) 5Cx4.0Sqmm | Mtr | 40 |  | 0
129 | SWITCHES, SOCKETS & ACCESSORIES Supplying and flush mounting powder coated / galvanized metal box suitable for mounting modular switch plates. The box should be firmly flush mounted after due groove cutting in Brick/Stone/C.C wall |  |  |  | 0
| a) 1-2 Way | Each | 325 |  | 0
| b) 1-3 Way | Each | 375 |  | 0
| c) 4 Way | Each | 75 |  | 0
| d) 6 Way | Each | 120 |  | 0
| e) 8 Way | Each | 130 |  | 0
| f) 10-12 Way | Each | 50 |  | 0
| g) 18 Way | Each | 15 |  | 0
130 | Supplying and fixing superior quality modular switch mounting polycarbonate plate with necessary supporting back plate with required nos. of machine screws, bolts nuts etc., complete on the existing metal/ metal PVC box. |  |  |  | 0
| a) 1 to 2 Module | Each | 325 |  | 0
| b) 3 Module | Each | 375 |  | 0
| c) 4 Module | Each | 75 |  | 0
| d) 6 Module | Each | 120 |  | 0
| e) 8 Module | Each | 130 |  | 0
| f) 10-12 Module | Each | 50 |  | 0
| g)18 Module | Each | 15 |  | 0
131 | Supplying and fixing of modular switch/Socket/stepped electronic fan regulator/dimmer/telephone socket etc. on existing modular switch plate as per IS 3854 and IS 1293 |  |  |  | 0
| a) 6 Amps one way | Each | 1100 |  | 0
| b) 6 Amps Two way | Each | 120 |  | 0
| c) 6Amps 3way socket. | Each | 300 |  | 0
| d) Stepped fan regulator Two module | Each | 60 |  | 0
| e) 32A,DP,Switch | Each | 110 |  | 0
| f) 16Amps one way switch | Each | 115 |  | 0
| g) 6/16Amps universal socket | Each | 225 |  | 0
| h) 6A Bell push | Each | 55 |  | 0
132 | Supply and fixing 32Amps security and energy saving DP switch with key tag suitable to operate on 230volts, 50Hz AC supply & completely wired on existing box. | Each | 55 |  | 0
133 | Supplying And fixing/replacing of 6/16/32A electrical accessories on existing switch board. |  |  |  | 0
| 6A Batten holder | Each | 100 |  | 0
| 6A Bell Buzzer | Each | 52 |  | 0
134 | CONTROL SWITCH GEARS & ACCESSORIES Supplying push button operated, direct online starter with an antiweld silver cadmium oxide contactor with replaceable fixed and moving contacts and bimetallic thermal overload relay help in anticorrosion treated sheet steel or iron clad enclosure and fixing the same to suitable capacity wires for 400/440 volts 3 phase motor/single phase motor upto 5 HP. | Each | 2 |  | 0
135 | Supplying and fixing regular MCB distribution panel confirming to IS 8828 , on wall/wood board/ flush mounting using required clamps, bolts, nuts etc.. With provision for fixing of suitable type capacity ELMCB / MCb's as an incomer for 3 phase double door with necessary bus bar completely wired to use on 440volts 3 phase 4 wired powder coated painting etc.. complete with provision for fixing of single/three phase suitable capacity ELMCB/MCb's as outgoings confirming to IS8828. 8 way | Each | 1 |  | 0
136 | Supplying and fixing miniature circuit breakers on existing MCB distribution boards using necessary fixing materials and 'C' Type curve, indicator ON/OFF, energy cross-3 with short circuit breaking capacity of 10K and complete wiring as required confirming to IEC 60898. |  |  |  | 0
| a) 5-32Amps SP | Each | 285 |  | 0
| b) 5-32Amps DP | Each | 10 |  | 0
| c) 5-32Amps TP/TPN | Each | 8 |  | 0
| d) 40Amps TPN | Each | 6 |  | 0
| e) 63Amps TPN | Each | 4 |  | 0
137 | Supplying and fixing regular MCB distribution boards on wall / wood board / flush mounting using required clamps, bolts ,nuts etc., with provision for fixing suitable type capacity MCB'S single phase / 3 phase / single door with powder coated painting. Made out of 14 SWG MS Enclosure |  |  |  | 0
| a) Double Door 4 Way SP & N | Each | 2 |  | 0
| b) Double Door 8 Way SP & N | Each | 52 |  | 0
| c) Double Door 16 Way SP & N | Each | 2 |  | 0
| d) Double Door 4 Way TP & N | Each | 6 |  | 0
138 | Supplying, fixing and wiring Residual current circuit breaker (RCCB) 240/450V upto 300mA sensitivity on existing wood/ panel board. |  |  |  | 0
| a) 32-40Amps 2 pole | Each | 55 |  | 0
| b) 32-40Amps 4 pole | Each | 8 |  | 0
139 | Supply and Installation / Fixing / Provision of Pole box with HRC Fuse / MCB provision and suitable connector / terminal for 3 Ph/ 1 Ph connections with Loop-In & Loop- Out terminals for 10 mm2 /25 mm2 3.5 C AI/Ar/Cu/Ar Cable and branch out 2.5 mm2 2 core AI/Cu PVC Insulated cable, enclosed in a Thermoplastic, Polystyrene enclosure, which should be shock proof, safe, IP65(Weather Proof), rust proof, dust proof, water proof having Internally Embedded Gasket with provision for cable entry through IP65 Thermoplastic, polyamide glands and/or grommets |  |  |  | 0
| a) 200 mm x 200 mm x 98 mm | Each | 4 |  | 0
140 | Supplying and fixing angle iron frame work fabricated out of M.S. angle iron ….and M.S. flat with bolts, washers etc… and painted with 2 coats of red oxide and then two coats of approved paint. |  |  |  | 0
| 40x40x6 | Mtr | 20 |  | 0
141 | Supplying and fixing of metal Socket set of 2 pole and earth plugs and socket for incorporating SP and TP MCB (without MCB). The entire Plug and Socket shall be mounted in athermoplastic / powder coated metal box & wired completely. |  |  |  | 0
| SP & N |  |  |  | 0
| 20Amps | Each | 4 |  | 0
| TP & N |  |  |  | 0
| 30Amps | Each | 4 |  | 0
142 | EARTHING AND L.T. U.G. CABLES Supplying fixing and wiring earth electrode for grounding of DG Sets etc. using 40mm dia 2.9mm thick 2.5mtr long GI pipe with GI funnel with mesh and suitable size reducer fixed on the top of the earth electrode. The funnel should be enclosed in a CC chamber of 400x400x400mm with a cast iron cover. The earth electrode shall have staggered holes of 12mm dia and the electrode should be covered 150mm all-round with alternate layers of salt and charcoal from the bottom of the CC chamber. The connection from the electrode is to be established through GI strip using GI bolts and nuts. | Each | 12 |  | 0
143 | Supplying and running of GI / Copper strips for grounding connections, using necessary fixing materials as required. |  |  |  | 0
| a) GI strip 25x3mm | Mtr | 300 |  | 0
| b) GI strip 25x6mm | Mtr | 150 |  | 0
| c) GI strip 40x6mm | Mtr | 50 |  | 0
| d) CU strip 25x6mm | Mtr | 50 |  | 0
| e) 600x600x3mm GI Plate | Mtr | 12 |  | 0
| f) 600x600x3mm CU Plate | Mtr | 2 |  | 0
144 | Supplying, Fixing & proper termination of vertical Air-termination using Gunmetal ball with finials of 5 spikes mounted on 2 mtrs long copper rod, mounted at the highest point of the building, with base plates, connection with horizontal conductor, necessary civil works, etc. | Each | 2 |  | 0
145 | Supply & fixing Test Link as per specification & drgs. and grouted to wall at 1200 mm. above ground level complete with all fixing accessories, clamps, screws etc, enclosed in M.S box. | Each | 2 |  | 0
146 | Supplying & Fixing Chemical earthing for grounding, conduits, IC cut outs & other equipments backfill compound which is non-corrosive, thermally conductive, potential to permissible limits, superior fault conduction capacity, non toxic, weather resistance & capable of achieving ohmic value less than one ohm. |  |  |  | 0
| Using 10 ft copper bonded rod with backfill compound | Each | 4 |  | 0
147 | Supplying and running GI/Copper conductor for grounding and (along with other wires in conduit system of wiring) using necessary suitable size clamps, nails, guttas/spacers etc.. |  |  |  | 0
| 8 SWG GI wire. | MT | 0.2 |  | 0
148 | Supplying of 1.1KV LT UG Aluminium cable XLPE insulated, PVC extruded inner sheathed, armourd UG LT cable as per the IS - 1554 (part-1) or IS-7098 part-1, Armoring strip thickness in average + 5% and resistivity 14 Ohms/Kms (Max) as per IS -3975. |  |  |  | 0
| 4 core 10 sq.mm | KM | 0.15 |  | 0
| 4 core 16 sq.mm | KM | 0.1 |  | 0
| 4 core 25 sq.mm | KM | 0.05 |  | 0
| 3.5 core 50 sq.mm | KM | 0.1 |  | 0
| 3.5 core 120 sq.mm | KM | 0.05 |  | 0
| 3.5 core 240 sq.mm | KM | 0.2 |  | 0
149 | Labour charges for laying of 1.1 KV class UG cable in the existing trench GI pipe / stoneware pipe / on wall / on pole as required. On wall / Structure. |  |  |  | 0
| a) 2.5 sqmm to 25 sqmm | KM | 0.3 |  | 0
| b) 35 sqmm to 95 sqmm | KM | 0.1 |  | 0
| c) 120 sqmm to 240 sqmm | KM | 0.25 |  | 0
150 | Supplying and fixing of heavy duty cable glands suitable for UG cable of1.1 KV class (metal only) |  |  |  | 0
| a) 25mm | Each | 10 |  | 0
| b) 32mm | Each | 4 |  | 0
| c) 40mm | Each | 2 |  | 0
| d) 45mm | Each | 6 |  | 0
151 | Aluminium End Terminal (Lug) |  |  |  | 0
| a) 1.5 to 10 sq.mm | Each | 3000 |  | 0
| b) 16 sq.mm | Each | 100 |  | 0
152 | Supplying and termination of Heavy Duty Copper Terminal long barrel. |  |  |  | 0
| a) 25 sq.mm Long barrel | Each | 20 |  | 0
| b) 50 sq.mm Long barrel | Each | 40 |  | 0
| c) 120 sq.mm Long barrel | Each | 10 |  | 0
| d) 240 sq.mm Long barrel | Each | 40 |  | 0
153 | Supplying and fixing 2mm thick perforated cable GI tray with on existing MS angle support using necessary GI bolts/nuts and washer or welding as required. a) 150x50mm | Mtr | 10 |  | 0
| b) 300x50mm | Mtr | 20 |  | 0
154 | FIXING CHARGES Fixing charges of Post top/gate/garden fitting/LED on the existing CI/GI or any other pipe using required size of reducer, wiring using suitable wires. | Each | 10 |  | 0
155 | FIXING CHARGES: Fixing all types and all capacities fluorescent /false ceiling/spot light/CFL/LED fittings indoor on the wall / ceiling / rafters / girders using 23 / 0.00076 " twin twisted PVC insulated wires, required nos of round blocks and clamps. On wall / ceiling / Rafters / Girders | Each | 650 |  | 0
156 | Using 2 Mtr long 19mm 18SWG enamelled braised conduit of two nos. rod pendent with ball socket with check nuts all nickel painted. | Each | 30 |  | 0
157 | Extra length of GI pipe of class b 19mm dia for down rod. | Each | 30 |  | 0
| Fixing a ceiling/wall mounting fan of all capacities and all types to the existing 'S' hook with fan regulator to the existing board together with supplying and fixing a 5 amps ceiling rose, necessary length of 23 / 0.0076 inch PVC insulated twin twisted copper wire and wiring. | Each | 60 |  | 0
158 | Fixing one exhaust fan in the nitch already left in the wall with bolts and nuts and a 5 amps, ceiling rose with sufficient length of 23/0.0076 inch PVC insulated twin core wire. | Each | 50 |  | 0
159 | LT PANEL WORKS: Design, manufacture, supplying, fixing in position, testing and commissioning of following MV switchgear panels made up of 14G, suitable for 415 V, 3 phase, 4 wire, 50 Hz power distribution system. The incoming and outgoing feeders shall be accommodated in a modular multitier arrangement and shall be interlocked to avoid paralleling, adequate size cable alley, painting, earthing, numbering, danger plate etc. as required as per specifications and drawings. The panels should be with all items as per SLD and Specification. |  |  |  | 0
160 | Fabricating supplying and mounting MS box made out … SWG suitable for floor /wall mounting, fully weather proof with provision for better heat dissipation, provided with hinged front cover, equipped with tamper proof locking arrangements, with suitable size clamps with necessary cable entry pipe with gland and box should be finished with 2 coats of red oxide primer paint and finally finished with approved colour enameled metal paint and Powder coating. etc., complete. |  |  |  | 0
| 14SWG | Sqcm | 45000 |  | 0
| 16SWG | Sqcm | 165000 |  | 0
161 | Supplying and fixing angle iron frame work fabricated out of M.S. angle iron… and M S flat …….. With bolts, washers etc., and painted with 2 coats of red oxide and then two coats of approved paint. |  |  |  | 0
| 50x50x6mm | Mtr | 10 |  | 0
| 75x150x75x6mm C channel | Mtr | 4 |  | 0
162 | Supply of on load change over switches 4 poles, AC-23A duty, 415v, 50Hz, AC supply. (Open Execution) |  |  |  | 0
| 315A | Each | 1 |  | 0
163 | Supply and fixing Moulded Case Circuit Breaker (MCCB) over the existing wood/panel board using necessary screws, bolts, nuts and wiring complete. Protection of overload and short circuit with thermal magnetic/micro processor releases and earth fault as per IS-13947. (Icu=Ics). In 4P MCCB, all poles should have protection for short -circuit/over load. For Microprocessor MCCBS Facility for segregating priority and Non -Priority load must be available in the MCCB. MCCB shall be provided with double insulation (insulation between front cover and internal power circuits to avoid any accidental contact with live current carrying path with the front cover open). Multi pole breakers shall be designed to break all the poles simultaneously and they shall have a single mechanism. |  |  |  | 0
| THREE POLE |  |  |  | 0
| 63-100Amps 25kA | Each | 10 |  | 0
| 160Amps 25kA | Each | 1 |  | 0
| FOUR POLE |  |  |  | 0
| 100Amps 25kA | Each | 5 |  | 0
| 315-400Amps 50kA | Each | 1 |  | 0
164 | Supplying and fixing of LED type panel board indicating lamp with required colour suitable for 220V AC, 50Hz 12/24V DC. | Each | 18 |  | 0
165 | Supplying, fixing and wiring 3 phase Digit Digital Ammeter/Voltmeter | Each | 1 |  | 0
166 | Supplying, fixing and wiring 50/5A to 400/5A 5VA burden current transformer class 0.5 accuracy with Tape wound | Each | 10 |  | 0
167 | Supplying of multi function Meter digital three line back light LCD type display of voltage, Current, frequency, Power, power factor, KVA, KWH, KVAR suitable for 3 phase, 4 wire LT network with IP 54 degree of protection and completely wired as required wit communication Port and class 0.5s accuracy. | Each | 5 |  | 0
168 | Supplying, fixing and wiring earth leakage relay with core balanced current transformer suitable for single phase 50Hz AC with latest microcontroller based, digital read out of percentage leakage current, programmable delay/auto/ manual reset facility suitable to mount on DIN rail / flush mounting panel board. | Each | 1 |  | 0
169 | Supplying …….amps rated 3 phase with neutral bus bar using required capacity electrolytic aluminium strips covered with heat shrinkable coloured PVC sleeve, mounted on phenolic/FRP/DMC insulator which are mounted on powder coated 40x6mm M S flat frame work in existing panel board. The bus bar shall have suitable holes for termination of incoming and outgoing cables as per IS specification with necessary bolts, nuts and washers etc., complete. |  |  |  | 0
| 250Amps 5x30x10mm Aluminum Strips. | Mtr | 8 |  | 0
| 400Amps 5x50x10mm Aluminum Strips. | Mtr | 4 |  | 0
170 | Supplying and fixing miniature circuit breakers on existing MCB distribution boards using necessary fixing materials and 'C' type curve, indicator ON/OFF, energy cross-3 with short circuit breaking capacity of 10K and complete wiring as required confirming to IEC 60899 |  |  |  | 0
| 6-32 Amps SP | Each | 30 |  | 0
| 6-32 Amps DP | Each | 60 |  | 0
| 6-32 Amps TPN | Each | 8 |  | 0
| 40 Amps TPN | Each | 10 |  | 0
| 50-63 Amps TPN | Each | 12 |  | 0
171 | Supply and fixing of 4 pole contactor with No/NC contacts on existing wood/ panel board using necessary bolts, nitsm washers and wiring etc, complete with AC-3 rating and as per IS- 13947 |  |  |  | 0
| 25Amps | Each | 3 |  | 0
| 40Amps | Each | 2 |  | 0
| 63Amps | Each | 1 |  | 0
172 | Supplying, fixing and wiring heavy duty low voltage capacitors confirming to IS 2834. 3 phase, 400/440 volts grade, for power factor improvement of rotating machinery. | KVAR | 15 |  | 0
173 | Supplying, fixing and wiring Electronic Trivector Meter (ETV) 5 to 32Amps single phase class-1 Accuracy with temper proof energy meter. | Each | 50 |  | 0
174 | NETWORKING AND COMMUNICATION : Supplying and fixing of modular switch/Socket/stepped electronic fan regulator/dimmer/telephone socket etc. on existing modular switch plate as per IS 3854 and IS 1293. |  |  |  | 0
| a) TV / TELE socket | Each | 110 |  | 0
| b) RJ45/I.O. outlet (For Data) | Each | 55 |  | 0
175 | Supplying and drawing UTP-CAT 6 LAN cable. (For Data and CCTV cabling) | Rmt | 1800 |  | 0
176 | Supplying and Drawing PVC flexible one pair telephone unarmoured tinned copper cable. |  |  |  | 0
| a) 2 Pair | Rmt | 800 |  | 0
| b) 5 Pair | Rmt | 100 |  | 0
| c) 20 Pair | Rmt | 75 |  | 0
177 | Supplying and drawing PVC insulated gas injected physical foam jelly flooded co-axial TV cable. RG-6. | Rmt | 900 |  | 0
178 | Supplying and fixing of switch mounting rack with power manager & cable manager. 9U with 450mm depth | Each | 4 |  | 0
179 | Supplying and fixing of power strip. | Each | 4 |  | 0
180 | Supplying and fixing of fan. | Each | 4 |  | 0
181 | Supplying fixing of Network Switches. 24 Port 10/100/1000 Switch | Each | 4 |  | 0
182 | Supplying & fixing of ….mtrs Cat6 Patch Cable - a) 1 mtr | Each | 55 |  | 0
| b) 2 mtr | Each | 55 |  | 0
183 | Supplying & fixing of Patch Panel for LAN cabling. 24 Port 10/100/1000 Patch Panel | Each | 5 |  | 0
184 | Supplying and Fixing of MDF Krone junction box with KRONE module / Telephone cable termination. |  |  |  | 0
| 30 pair | Each | 6 |  | 0
185 | Supply and laying 6 Core Multimode OM3 outdoor Fiber Cable. | Mtr | 50 |  | 0
186 | Supply and providing 12F, 1U, LC MM OM3, Loaded with Pigtails, Splice tray, adapter & splice protectors | Each | 1 |  | 0
187 | ANALOGUE ADDRESSABLE TYPE FIRE ALARM SYSTEM SUITABLE FOR BMS INTEGERATION |  |  |  | 0
188 | Supply, install, test and commissioning of addressable peer to peer Networkable analogue addressable type 4LOOP fire alarm control panel with minimum 1500 Character / 240X64 Pixel / 7inch Touchscreen graphic LCD display. The panel should be equipped with sufficient numbers of loop with 20% spare capacity, with each networkable intelligent fire alarm Control Panel having SLC with capacity of min 126 /240 detectors/ devices in any combination with key pad, dual flash-based microprocessor technology, inbuilt USB Port for upload and down load the configuration tools, RS232 serial port for direct PC or modem connection, inbuilt NAC's, min 20 programmable Zonal LEDs and operates on 240V AC + 10% with 50 Hz with built in charger. The panel shall have fire, fault relays, option of BMS integration MODBUS/ BACKNET, graphical software for provision of TCP/ IP modules, Remote Access, Class 'X' wiring with provision of both class 'A' and class 'B' wiring in the SLC circuit, user friendly with communication facility to monitor & control the FACPs from a single window. The panel shall be suitable for minimum of 5000 event record facility, event fetch from FACP facility and the single panel shall be suitable for min 2000 fire zones and 200 Panels/ Nodes in one network with all other accessories required to successfully run the system. (The System cost shall be included of all necessary cards, modules, Panel enclosure, CPU and associated accessories to complete the system design). including of 7AM-12 V Battery for fire alaram system. |  |  |  | 0
| 2 LOOP PANEL | Each | 1 |  | 0
189 | Supply, install, test and commissioning of analogue addressable Multisensor having three sensors (OH2) i.e. one optical and dual heat sensor (Static and ROR both), It shall have multiple modes with min five different optical sensitivity adjustment from 1.1%/m to 4.2%/m and to be possible to configure the detector to work in any of the modes such as only optical type or only heat type or combined type. 360° Visible Tricoloured led for Normal, Fault and alarm condition, addressing shall be by means of Soft addressing or dip switches or decade switches, or suitable punched cards. (For Detectors/Device without inbuilt isolator, Fault Isolator or Isolator base to be provided with each detector/device) | Each | 55 |  | 0
190 | Supply, Installation, Testing & Commissioning of Analogue Addressable loop powered Sounder & Beacon with inbuilt isolator and having Min 15 distinct sound patterns/ multitone to indicate Exit doors and direct occupants for safe and fast evacuation and 100dB output with minimum 1Hz Frequency flash rate designed for IP65 requirements and approved to operate in –10°C to +55°C temperature, complies with the essential requirement of the EMC Directive to be supplied with Junction Box, Glands and other mounting accessories for proper installation. (For Detectors/Device without inbuilt isolator, Fault Isolator or Isolator base to be provided with each detector/device) Approval: VDS/UL/EN54. Make: Advanced (UK), Simplex, Notifier,Argus(Uk) | Each | 5 |  | 0
191 | Supply, install, test and commissioning of Analogue addressable Manual Call Point (Resettable Type) with inbuilt isolator and LED indicator, designed for IP44 requirements and approved to operate in –10°C to +55°C temperature, complies with the essential requirement of the EMC Directive to be supplied with Barriers, Junction Box, Glands and other mounting accessories for proper installation. (For Detectors/Device without inbuilt isolator, Fault Isolator or Isolator base to be provided with each detector/device) Approval: VDS. Make: Advanced (UK),Argus(uk)Simplex Notifier | Each | 5 |  | 0
192 | FAULT ISOLATION MODULE: Supply, install, test and commissioning of analogue addressable Smoke Sensor detector/Fault Isolation Module and standard base (For Detectors/Device without inbuilt isolator, Fault Isolator or Isolator base to be provided with each detector/device) (FOR EVERY 15 DETAECTORS) | Each | 5 |  | 0
193 | Concealed conduit System Supplying heavy gauge PVC conduit pipe ……mm dia ......mm thick confirming to IS 2509 with suitable size bends, metals/PVC junction boxes, adhesives paste etc., and running before concreting the slab . The conduit should be tied to the reinforcement rods by using binding wires and unused ways of junction boxes and pipe ends should be covered using PVC end enclosures. run with 18SWG GI fish wire wherever necessary. a) 19/20 mm dia 2mm thick | Mtr | 700 |  | 0
194 | Supplying and Drawing flexible multicore cable manufactured with electrolytic grade flexible copper with low conductor confirming to table 3 class 5 of IS:8130-1984 and (virgin) PVC insulation and sheathed suitable for working voltage upto 1100volts as per IS-694:1990. The cost should inlcude Crimping lugs and termination. |  |  |  | 0
| a) 3Cx1.5Sqmm | Mtr | 700 |  | 0
195 | Supplying of two buckets standalong with buckets | Each | 1 |  | 0
196 | Supplying of HAND GLOVES | Pair | 1 |  | 0
197 | Supplying of first aid box | Each | 1 |  | 0
198 | Supplying of SAFETY MASK | Each | 1 |  | 0
199 | Supplying of FIRST AID CHART with lamination | Each | 1 |  | 0
200 | Supplying and installation of RUBBER MAT 1mtx1mt-10mm Thick | Each | 2 |  | 0
201 | PUBLIC ADDRESS SYSTEM CONDUITS AND CABLES |  |  |  | 0
202 | Concealed conduit System Supplying heavy gauge PVC conduit pipe ……mm dia ......mm thick confirming to IS 2509 with suitable size bends, metals/PVC junction boxes, adhesives paste etc., and running before concreting the slab . The conduit should be tied to the reinforcement rods by using binding wires and unused ways of junction boxes and pipe ends should be covered using PVC end enclosures. run with 18SWG GI fish wire wherever necessary. a) 19/20 mm dia 2mm thick | Mtr | 600 |  | 0
203 | Supplying and Drawing flexible multicore cable manufactured with electrolytic grade flexible copper with low conductor confirming to table 3 class 5 of IS:8130-1984 and (virgin) PVC insulation and sheathed suitable for working voltage upto 1100volts as per IS-694:1990. The cost should inlcude Crimping lugs and termination. |  |  |  | 0
| a) 3Cx1.5Sqmm | Mtr | 600 |  | 0
| NURSE CALL SYSTEM |  |  |  | 0
204 | Supply, installation, testing and commissioning of Bed call Unit with NURSE CALL, CODE BLUE and Additional Help complete with corded handset,with CLEAR-suitable for single bed. The rate shall also include cost of modular metal box for fixing the Bed calling unit. | Each | 45 |  | 0
205 | Supply, installation, testing and commissioning of DOOR/ CORRIDOR INDICATOR -Composite Indicates various Call types & Status. The rate shall include cost of all necessary accessories as required | Each | 45 |  | 0
206 | Supply, installation, testing and commissioning of Bathroom (Emergency) Pull Cord Modules CALLING Unit in TOILET. The rate shall also include cost of modular metal box for fixing the toilet calling unit. | Each | 45 |  | 0
207 | Supply, installation, testing and commissioning of nurse call Panel/Processor which shall communicate to 45 nos. Of calling units. The NCP shall have display module, voice module, call forwarding, call escallation and sms facility. The enclosure shall be made out of Aluminium. Also nurse station controller should interact with supervisory controller. | Each | 1 |  | 0
208 | Supply, installation, testing and commissioning of nurse call Panel/Processor which shall communicate to 10 no. Of calling units. The NCP shall have voice module, call forwarding, call escallation and sms facility. The enclosure shall be made out of Aluminium. Also nurse station controller should interact with supervisory controller. | Each | 4 |  | 0
209 | Supply, installation, testing and commissioning of 19" LCD Display monitor. The rate shall include cost of all necessary accessories as required. | Each | 4 |  | 0
210 | Supply, installation, testing and commissioning of supervisory controller , which can communicate to nurse station controller, comminication device with GPS modem. The supervisory controller should have call forwarding, call escalation features. The rate shall include cost of all necessary accessories as required | Each | 1 |  | 0
211 | Supply, installation, testing and commissioning of nurse call system software which can generate report like call density, average response time, record of escalated call calls profile etc. | Each | 1 |  | 0
212 | Supplying and drawing UTP-CAT 6 LAN cable. (For Data and CCTV cabling) | Rmt | 1500 |  | 0
213 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | NOS | 2 |  | 0
214 | Providing and fixing PVC (S.W.R) Multi Floor Trap 10.0 cm X 7.5 cm X 5.0 cm X 4.0 cm with all fitting arrangements & all necessary accessories complete Stilt floor | NOS | 2 |  | 0
215 | Providing and fixing PVC (S.W.R) Multi Floor Trap 10.0 cm X 7.5 cm X 5.0 cm X 4.0 cm with all fitting arrangements & all necessary accessories complete Ground floor | NOS | 22 |  | 0
216 | Providing and fixing PVC (S.W.R) Multi Floor Trap 10.0 cm X 7.5 cm X 5.0 cm X 4.0 cm with all fitting arrangements & all necessary accessories complete First floor | NOS | 34 |  | 0
217 | Providing and fixing PVC (S.W.R) Multi Floor Trap 10.0 cm X 7.5 cm X 5.0 cm X 4.0 cm with all fitting arrangements & all necessary accessories complete Second floor | NOS | 34 |  | 0
218 | Providing and fixing PVC (S.W.R) Multi Floor Trap 10.0 cm X 7.5 cm X 5.0 cm X 4.0 cm with all fitting arrangements & all necessary accessories complete Third floor | NOS | 34 |  | 0
219 | Providing and fixing Structural steel works riveted, bolted or welded in built up sections, trusses and framed work,m including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete including cost of materials, Labour, usage charges of machinery complete as per specifications and as per directions of the Engineer -in-charge. Ground floor | KGS | 25 |  | 0
220 | Providing and fixing Structural steel works riveted, bolted or welded in built up sections, trusses and framed work,m including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete including cost of materials, Labour, usage charges of machinery complete as per specifications and as per directions of the Engineer -in-charge. First floor | KGS | 75 |  | 0
221 | Providing and fixing Structural steel works riveted, bolted or welded in built up sections, trusses and framed work,m including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete including cost of materials, Labour, usage charges of machinery complete as per specifications and as per directions of the Engineer -in-charge. Second floor | KGS | 75 |  | 0
222 | Providing and fixing Structural steel works riveted, bolted or welded in built up sections, trusses and framed work,m including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete including cost of materials, Labour, usage charges of machinery complete as per specifications and as per directions of the Engineer -in-charge. Third floor | KGS | 75 |  | 0
223 | Providing stoneware gully trap of approved quality and make fixing in M-15 and plastering with CM 1:3 wherever necessary (Rate includes cost of all materials, fixtures and lead) | NOS | 25 |  | 0
224 | Providing PVC ringtite pipes conforming to IS 4985:2000 with latest amendments and conveying to worksite, rolling and lowering into trenches, laying true to line and level and perfect linking at joints, testing and commissioning, including loading unloading at both destinations and cuts of pipes wherever necessary including jointing of PVC pipes and specials (excluding cost of specials) with jointing of approved type, with all labour with all lead & lift including encasing the pipe alround to a depth of not less than 15 cms. with soft gravel or selected earth available from the excavation etc. complete and giving necessary hydraulic test to the required pressure as per ISS (Contractor will make his own arrangements for procuring water for testing) etc. complete. for: PVC pipes 75mm dia., 6 kg/sqcm & class 3 |  |  |  | 0
| Ground floor (Waste line from floor traps & vent pipe) | M | 35 |  | 0
| First floor (Waste line from floor traps & vent pipes) | M | 20 |  | 0
| second floor | M | 288 |  | 0
225 | Providing PVC ringtite pipes conforming to IS 4985:2000 with latest amendments and conveying to worksite, rolling and lowering into trenches, laying true to line and level and perfect linking at joints, testing and commissioning, including loading unloading at both destinations and cuts of pipes wherever necessary including jointing of PVC pipes and specials (excluding cost of specials) with jointing of approved type, with all labour with all lead & lift including encasing the pipe alround to a depth of not less than 15 cms. with soft gravel or selected earth available from the excavation etc. complete and giving necessary hydraulic test to the required pressure as per ISS (Contractor will make his own arrangements for procuring water for testing) etc. complete. for: PVC pipes 90mm dia., 6 kg/sqcm & class 3 |  |  |  | 0
| Ground floor | M | 12 |  | 0
| First floor | M | 20 |  | 0
| second floor | M | 20 |  | 0
| Third floor | M | 20 |  | 0
| Verticles | M | 96 |  | 0
226 | Providing PVC ringtite pipes conforming to IS 4985:2000 with latest amendments and conveying to worksite, rolling and lowering into trenches, laying true to line and level and perfect linking at joints, testing and commissioning, including loading unloading at both destinations and cuts of pipes wherever necessary including jointing of PVC pipes and specials (excluding cost of specials) with jointing of approved type, with all labour with all lead & lift including encasing the pipe alround to a depth of not less than 15 cms. with soft gravel or selected earth available from the excavation etc. complete and giving necessary hydraulic test to the required pressure as per ISS (Contractor will make his own arrangements for procuring water for testing) etc. complete. for PVC pipes 110mm dia., 6 kg/sqcm & class 3 |  |  |  | 0
| Stilt floor | M | 30 |  | 0
| Ground floor(soil & Waste line) | M | 27 |  | 0
| First floor(soil & Waste line) | M | 36 |  | 0
| second floor | M | 36 |  | 0
| Third floor | M | 36 |  | 0
| terrace ( Vent pipe extension) - 3 No's | M | 216 |  | 0
227 | Providing PVC ringtite pipes conforming to IS 4985:2000 with latest amendments and conveying to worksite, rolling and lowering into trenches, laying true to line and level and perfect linking at joints, testing and commissioning, including loading unloading at both destinations and cuts of pipes wherever necessary including jointing of PVC pipes and specials (excluding cost of specials) with jointing of approved type, with all labour with all lead & lift including encasing the pipe alround to a depth of not less than 15 cms. with soft gravel or selected earth available from the excavation etc. complete and giving necessary hydraulic test to the required pressure as per ISS (Contractor will make his own arrangements for procuring water for testing) etc. complete. for PVC pipes 160mm dia., 6 kg/sqcm & class 3 Stilt floor | M | 100 |  | 0
228 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 | set | 14 |  | 0
229 | Providing and fixing unplasticised PVC connection pipe with brass unions 30 cm length,15 mm nominal bore | set | 4 |  | 0
230 | Providing and fixing unplasticised PVC connection pipe with brass unions 30 cm length,20 mm nominal bore | set | 2 |  | 0
231 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | L | 10000 |  | 0
232 | Providing and fixing Brass full way valve gate with C.I. wheel of approved quality (screwed end) : For 25 mm dia GM (Copper alloy) Gate valves |  |  |  | 0
| Ground floor | NOS | 6 |  | 0
| First floor | NOS | 22 |  | 0
| second floor | NOS | 22 |  | 0
| Third floor | NOS | 22 |  | 0
233 | For 32 mm dia GM (Copper alloy) Gate valves |  |  |  | 0
| Verticles | NOS | 4 |  | 0
234 | For 40 mm dia GM (Copper alloy) Gate valves |  |  |  | 0
| Terrace | NOS | 8 |  | 0
235 | For 50 mm dia GM (Copper alloy) Gate valves |  |  |  | 0
| Terrace | NOS | 6 |  | 0
236 | For 65 mm dia GM (Copper alloy) Gate valves |  |  |  | 0
| Terrace - Overhead tank -Distribution Piping | NOS | 4 |  | 0
237 | Providing and fixing 3 layer PP-R (Poly Propylene Random Copolymer) pipes confirming to IS.15801, UV stabilized and anti-microbial fusion welded, having thermal stability for hot and cold water supply, including all PP-R plain and brass threaded polypropylene random fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes testing of joints complete as per direction of Engineer-In- Charge PN - 16 Pipe, SDR 7.4-25 mm OD |  |  |  | 0
| Ground floor(Intenral & duct Piping) | m | 150 |  | 0
| First floor (Internal & duct piping) | m | 150 |  | 0
| second floor | m | 150 |  | 0
| Third floor | m | 150 |  | 0
238 | PN - 16 Pipe,SDR 7.4- 32 mm OD |  |  |  | 0
| Verticles | m | 300 |  | 0
239 | PN - 16 Pipe,SDR 7.4-40 mm OD |  |  |  | 0
| Verticles | m | 125 |  | 0
240 | PN - 16 Pipe,SDR 7.4-50 mm OD |  |  |  | 0
| Ground floor(Intenral & duct Piping) | m | 100 |  | 0
| Terrace-Distribution Piping | m | 100 |  | 0
241 | PN - 16 Pipe,SDR 7.4-63 mm OD |  |  |  | 0
| Ground floor garden line | m | 75 |  | 0
| Terrace-Distribution Piping | m | 150 |  | 0
242 | Earth work excavation for pipelines/cables by Manual means upto 600 mm trench width, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, including dressing of excavated surfaces, disposing off or leveling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m. Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering and lift upto 1.5 m including cost of labour, tools, usage& other appurtenances required to complete the work.In all kinds of soils. Depth upto 1.50m |  |  |  | 0
| For Sanitary lines Inside premises | cum | 150 |  | 0
243 | For Water supply Lines (Borwell pumping, Treated water pumping, Recycled water pumping) | cum | 100 |  | 0
244 | Extra for excavating trenches for pipes, cables and similar works in all kinds of soil where excavation width is upto 600 mm for depth exceeding 1.5 m, but not exceeding 3 m. add 20 % extra (Rate is over corresponding basic item for depth upto 1.5 m) | cum | 150 |  | 0
245 | Earth work excavation by manual means for drains,canals, waste weir draft, approach channels, key trench, foundation of Bridges and such similar works, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, excavated surface leveled and sides neatly dressed disposing off or leveling the excavated stuff or sorting & stacking the selected stuff for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage & other appurtenances required to complete the work. In ordinary/soft rock without blasting upto 1.5 m depth | cum | 100 |  | 0
246 | Refilling available earth around trenches/pipelines, cables in layers not exceeding 20 cms in depth, compacting each deposited layer by ramming after watering with a lead upto 50 m , and lift upto 1.5 m. Including cost of all labour complete as per specifications | cum | 375 |  | 0
247 | Providing and laying in position plain cement concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machineries, curing, and all the other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement & formwork shall be paid separately) Mix 1:5:10 Using 40 mm and down size graded crushed coarse ag gregates |  |  |  | 0
| 110 mm dia Pipes | cum | 22.5 |  | 0
| 160 mm dia Pipes | cum | 30 |  | 0
248 | Providing and constructing of Machinehole chambers conical in shape at top with CC 1:3:6 foundation using 40mm and down size graded metal of approved quality and with an offset of 0.15m alround the chamber and brick masonry in C.M 1:4 plaster with bricks of approved quality and CM plaster 1:3 proportion 12mm thick inside and outside except for the conical surface outside where the thickness of plaster shall be 20 mm thick, with 1 to 6 slope in the concrete towards the central drain, finished smooth and fixing of pipes in CC 1:2:4 with graded metal of 20 mm and down size including supplying and fixing SFRC Machinehole frame and cover confoming to IS 12592(Part-I): 1988 & IS 12592(Part-II) :1991 with latest amendments in CC 1:2:4, supplying and fixing of plastic foot steps staggered at 30cms apart as directed, watering, curing,barricading, danger lighting, pouring tar over M.H. frame and cover, cost of tar, shoring, strutting, dewatering, engraving Machinehole No. on the inner and outer conical surface etc. as per the drawing with all lead and lift for various diameters and depths noted belowWith Table Moulded Bricks & Heavy Duty SFRC Cover & Frame: For 1.2m dia |  |  |  | 0
249 | Constructing Table Moulded Bricks Machinehole 1.2 m internal dia. , 1.0 M depth & Heavy duty SFRC cover & frame | NOS | 2 |  | 0
250 | Constructing Table Moulded Bricks Machinehole 1.2 m internal dia. , 2.0 m depth & Heavy duty SFRC cover & frame | NOS | 2 |  | 0
251 | Constructing Table Moulded Bricks Machinehole 1.2 m internal dia. , 3.0 M depth & Heavy duty SFRC cover & frame | NOS | 2 |  | 0
252 | Constructing brick masonry chamber of internal dimension 600x600mm and depth of 600mm (inner dimensions) with modular bricks of CD 75 in cement mortar 1:6, bed concrete 150mm thick with 1:3:6, plastering 12 mm thick with cement mortar 1:4, CC 1:2:4 coping 75mm thk for fixing CI cover & frame etc. excluding the cost of CI frame and cover.. | NOS | 12 |  | 0
253 | Constructing brick masonry chamber of internal dimension 450x450mm and depth of 600mm (inner dimensions) with modular bricks of CD 75 in cement mortar 1:6, bed concrete 150mm thick with 1:3:6, plastering 12 mm thick with cement mortar 1:4, CC 1:2:4 coping 75mm thk for fixing CI cover & frame etc. excluding the cost of CI frame and cover | NOS | 6 |  | 0
254 | Constructing brick masonry chamber of internal dimension 450x300mm and depth of 600mm (inner dimensions) with modular bricks of CD 75 in cement mortar 1:6, bed concrete 150mm thick with 1:3:6, plastering 12 mm thick with cement mortar 1:4, CC 1:2:4 coping 75mm thk for fixing CI cover & frame etc. excluding the cost of CI frame and cover.. | NOS | 6 |  | 0
255 | Providing & fixing 455x610 mm cast iron cover with frame weight to be not less 38kgs (weight of cover 23 kgs and weight of frame 15 kgs)and necessary locking arrangements with M.S flats 32x6 mm etc & painting with two or more coats with black Japan paint etc. complete as directed by the engineer-in-charge. | NOS | 22 |  | 0
256 | Providing and installing at site of work P.V.C. pipes including cost of pipes and specials and labour, including lowering into trenches, laying true to line, level and perfect linking at joints leak proof including jointing of approved type with all labour charges and all lift charges, handling charges including encasing the pipe around to a depth not less than 15 cms with gravel or selected earth available from the excavation etc. complete. At ground level connections only PVC pipes 160mm dia., 6 kg/sqcm & class 3 | m | 200 |  | 0
257 | Supplying S&S RCC SPUN / VIBRATED CAST PIPES (REINFORCED) pipes NP-3 Class conforming to IS:458-1988 with latest amentments using ordinary portland cement, for sanitary works and conveying to work site, rolling and lowering into trenches, laying true to line and level including loading and unloading at both destinations and jointing of pipes and specials, perfect linking of joints with jack to correct position including cost of jointing materials, i.e, rubber rings conforming to IS: 5382 for S&S RCC pipes, with all leads and lifts as directed and giving necessary hydraulic test as per ISS to the required pressure and commissioning etc. complete. (Contractor will make his own arrangements for procuring water for testing). Before the execution of the work, the contractor shall carry out the survey RCC NP3 Class pipe of 300 mm dia. | m | 50 |  | 0
258 | Supplying PVC ringtite pipes conforming to IS 4985:2000 with latest amendments and conveying to worksite, rolling and lowering into trenches, laying true to line and level and perfect linking at joints, testing and commissioning, including loading unloading at both destinations and cuts of pipes wherever necessary including jointing of PVC pipes and specials (excluding cost of specials) with jointing of approved type, with all labour with all lead & lift including encasing the pipe alround to a depth of not less than 15 cms. with soft gravel or selected earth available from the excavation etc. complete and giving necessary hydraulic test to the required pressure as per ISS (Contractor will make his own arrangements for procuring water for testing) etc |  |  |  | 0
| PVC pipes 110mm dia., 6 kg/sqcm & class 3 | m | 30 |  | 0
| PVC pipes 160mm dia., 6 kg/sqcm & class 3 | m | 30 |  | 0
259 | Providing to work spot rolling, lowering and placing in position RCC perforated rings in the already excavated pit including loading and unloading at both the destinations with all lead and lift with appurtenances., complete. 1200 mmx1250 mm | NOS | 4 |  | 0
260 | Providing and fixing SFRC frame and cover conforming to IS 12592 (part-I)-1988 and IS 12592 (part-II)- 1991 with latest amendment, including cutting slabs to the required size for the opening and fixing the cover in C.C. 1:2:4 and C.M. 1:3 plastering 20 mm thick to all exposed faces, curing for 10 days with all lead and lift with appurtenances. complete. |  |  |  | 0
| a) Medium Duty | NOS | 4 |  | 0
| Granular Aggregates |  |  |  | 0
| a) 20mm Aggregates | cum | 1 |  | 0
| b) 25mm Aggregates | cum | 1 |  | 0
| c) 32mm Aggregates | cum | 1 |  | 0
| d) 40mm Aggregates | cum | 1 |  | 0
261 | Supply and delivery of Centrifugal pumpset at site brand new best make and with discharge duty confirming to ISI standards and its latest amendments 3 HP, size 50x40 Head 30M, Discharge 198 LPM | NOS | 2 |  | 0
262 | Supply, installing,testing and commissioning COMMON control panel consisting of the following INCOMING:1 No set of Phase indicating lamps with SFU of suitable rating 1 No, Analog Ammeter, 1 No Analog Voltmeter 1ni with Phase selector switch, Isolating switch OUTGOING for Main Electrical Pump: 1 No. MCB 1 No. DOL of S/D Starter suitable for respective HP 1 No. Electrcal Protection Like single Phase preventor, under voltage over Volage, under current over current & dry run protection suitable for the pump described above 1 no Indoor type NOTE: 1) DOL- Direct Online Starter 2) S-D- Star Delta Starter etc. complete 6 to 15 HP pumps | NOS | 2 |  | 0
263 | Providing, Installing testing and commissioning of Water level controller with following features, Input voltage 220V AC/50 Hz Voltage Variation +/- 20%, Dry Run Condition 60 Sec Delay after return to normal line voltage and power on. 45 Sec after Dry Run ,Sump and lank levels indication on the facia. Hi/Low/Normal Voltage indication, Flow indication, Pump Motor On/Off /Trip. Push-button to override controls and switches on the Pump motor till the tank fills up. Pump Motor switched on automatically when level falls below set low. Auto / Manual Switch for manual operation of pump motor. Audio Alarm on Dry Run. Push-button to silence the Alarm One N/O Contact for DOL Two N/O, N/C Contacts for Starters etc., complete | NOS | 2 |  | 0
264 | White vitreous china clay, WALL mounted European Water closet with frame & also with black solid plastic seat and lid, C.P brass hinges, rubber buffers. 32 mm dia CP brass Concealed Cistern (all are approved make ) with fittings, C.I / M.S brackets, 40mm diameter flush bend with fittings and clamps, painting of fittings and brackets, cutting and making good the wall and floor wherever required, including cost of materials, labour complete as per specifications. Fxiture as per Annexure. (MR) MAKE : CNS-WHT-363SPPZ Ewc Coupled Closets W-M Jaquar, ALD-CHR-573 Health Faucet With 8mm Dia Jaquar OPP-CHR-15053pm Angular Stop Cock Jaquar 9609 Rack Bolt Screw- Pair 115mm(4-1/2") Viking | NOS | 49 |  | 0
265 | fixing charges above items | NOS | 49 |  | 0
266 | White vitreous china clay, flat back wash basin size 630x450mm with a pair of 15mm C.P brass pillar taps with C.I / M.S brackets, 32 mm C.P. brass waste of standard pattern, painting of fittings and brackets, cutting and making good the wall and floor wherever required, including cost of materials, labour complete as per specifications. (MR) MAKE : CNS-WHT-801 Wall Hung Basin Jaquar, OPP-CHR-15053pm Angular Stop Cock Jaquar, CNS-WHT-305 Half Pedestal Jaquar, OPP-CHR-15001PM Pillar Cock Jaquar, ALD-CHR-729 Click Clack Waste Coupling-32mm H/T Jaquar, ALD-CHR-769L300X190 Bottle Trap (With Internal Partition) Jaquar 3024 Connection Pipe Braided SS 304 Viking | NOS | 49 |  | 0
267 | fixing charges above items | NOS | 49 |  | 0
268 | Providing & Fixing in position shower set consisting of CP shower rose with CP shower arm, 15 mm dia CP single lever diverter with tipton spout wall flanges etc., complete. (MR) MAKE: OHS-CHR-1989 Overhead Shower Singleflow 100mm Jaquar SHA-CHR-477 Shower Arm Casted 160mm Jaquar OPP-CHR-15079NKPM Single Lever Exposed Parts Kit Of Divert Jaquar ALD-CHR-079N Concealed Body For Single Lever High Flow Jaquar SPJ-CHR-15429PM Opal Prime Spout With Wall Flange Jaquar | NOS | 49 |  | 0
269 | fixing charges above items | NOS | 49 |  | 0
270 | Providing and fixing 600x450mm bevelLead edge Mirror of superior glass with 6mm hard board backing and fixed to wooden cleats with C.P screws, washers, including cost of materials, labour complete as per specifications. Jaquar (MR) | NOS | 49 |  | 0
271 | fixing charges above items | NOS | 49 |  | 0
272 | Providing & Fixing in position toilet paper holder Jaquar continental ITEM CODE: FLR-1151N (MR) | NOS | 49 |  | 0
273 | fixing charges above items | NOS | 49 |  | 0
274 | Providing and fixing C.P. brass Towel rail 740mm length, 20mm dia with C.P brackets, fixed to wooden cleats with C.P. brass screws including cost of materials, labour complete as per specifications..Jaquar continental ITEM CODE: CAN-1121BN (MR) | NOS | 49 |  | 0
275 | fixing charges above items | NOS | 49 |  | 0
276 | Providing & Fixing in position CP towel ring including necessary fittings etc., complete. Jaquar continental (MR) | NOS | 49 |  | 0
277 | fixing charges above items | NOS | 49 |  | 0
278 | Providing & Fixing in position CP twin coat hook including necessary fittings etc., complete. Jaquar continental (MR) | NOS | 49 |  | 0
279 | fixing charges above items | NOS | 49 |  | 0
280 | Providing & Fixing in position soap dish Jaquar Continental ITEM CODE: FLR-1131N (MR) | NOS | 49 |  | 0
281 | fixing charges above items | NOS | 49 |  | 0
282 | Providing and fixing 25 Ltrs, Horizontal Electric Water heaters, including supports, etc., complete Make: Racold, Venus, Usha (MR) | NOS | 49 |  | 0
283 | fixing charges above items | NOS | 49 |  | 0
284 | Providing & fixing in position stainless steel gratings with cockroach traps. Make: 40905 A Drain Flat Round SS 430 125mm(5") Viking | NOS | 49 |  | 0
285 | fixing charges above items | NOS | 49 |  | 0
286 | Providing & fixing in position stainless steel gratings with cockroach traps. Make: 40906 A Drain Flat Round SS 430 125mm(5") Viking | NOS | 49 |  | 0
287 | fixing charges above items | NOS | 49 |  | 0
288 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete Jaquar continental (MR) | NOS | 49 |  | 0
289 | fixing charges above items | NOS | 49 |  | 0
290 | Providing and fixing quatrz sink Single Bowl (Compact): 18 × 16 inches to 21 × 18 inches Composition: ~80% natural quartz and ~20% acrylic binder. Heat Resistance: Withstands extreme temperatures up to 280°C (536°F).Surface Type: Completely non-porous, preventing liquid absorption, stains, and bacteria infestation. Noise Reduction: Dense composite material absorbs vibrations from utensils and running water. the sink includes necessary plumbing fixtures such as long taps, control valves,provision for water purifier, hot taps and cold taps necessary pipesand complete in all respects. (MR) MAKE : OPP-CHR-15053pm Angular Stop Cock Jaquar, , OPP-CHR-15001PM Pillar Cock Jaquar, ALD-CHR-729 Click Clack Waste Coupling-32mm H/T Jaquar, ALD-CHR-769L300X190 Bottle Trap (With Internal Partition) Jaquar 3024 Connection Pipe Braided SS 304 Viking | NOS | 51 |  | 0
291 | fixing charges above items | NOS | 51 |  | 0
| TOTAL COST OF THE PROJECT |  |  |  | 0
| GST 18% |  |  |  | 0
| GRAND TOTAL |  |  |  | 0